## Sheet1
Renewable Energy Project Analysis Spreadsheet - rate schedule C-N
A - kWh Usage History
Year | 2012 | 2013 | 2014 | 2015 | 2016
January |  | 1680 | 1760 | 1680
February | 1440 | 1680 | 2240 | 1920
March | 1440 | 1760 | 2320 | 2560
April | 1040 | 2240 | 2560 | 1840
May | 1200 | 1760 | 1520 | 1520
June | 1280 | 1280 | 1440 | 1440
July | 1040 | 1120 | 1600 | 1200
August | 1200 | 1840 | 1440 | 1200
September | 960 | 1600 | 1360 | 1200
October | 4800 | 3520 | 1120 | 2240
November | 12240 | 20320 | 11360 | 13280
December | 11040 | 7920 | 21360
Totals | 37680 | 46720 | 50080 | 30080 | 0
Monthly Avg. | 3140 | 3893.3333 | 4173.3333 | 2506.6667 | 0
B - Calculation of "annual electric energy requirements"
Note: The Renewable Energy Project must be sized to exceed so as to not reasonably
exceed the annual electric energy requirements of Consumer's electric consuming facilities
located on the Consumer's premises. The Consumer's "annual electric energy requirements"
shall be the average amount of electricity consumed annually by the consumer for the electric
consuming facilities located on the Premises over the previous three years, using their annual
period of June 1 to May 31. If the Cooperative does not have the data or cannot calculate the
average amount of electricity consumed annually over the previous three years, such as
in instances of new construction or vacant properties, the Cooperative shall use any available
consumption data to estimate the annual electricity consumption for the Consumer's electric
consuming facilities located on the Premises and provide the estimation data to the Consumer.
June 1, 2012 to May 31, 2015 kWh Useage = |  |  |  | 138880
Three Year Average kWh Useage |  |  |  | 46293.3333
Table 1 - Calculation of annual electricity savings
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1/1/16 Rate Schedule C-N
| kWh per | kWh per | Previous | Generation Charges/kWh |  | Net | Previous | Average
| PVWatts | Solar Dealer | 12 Months | First 6,000 | Over 6,000 | Metering | 12 Months | kWh
| Calculator | Projection | Use | 0.05279 | 0.067757 | kWh Bank | Bills | Cost
January | 809 | 873 | 1680 | 873 | 0 | 0 | 257.81 | 0.15346
February | 1006 | 1086 | 1920 | 1086 | 0 | 0 | 283.96 | 0.1479
March | 1429 | 1542 | 2560 | 1542 | 0 | 0 | 369.94 | 0.14451
April | 1718 | 1854 | 1840 | 1840 | 0 | 14 | 324.66 | 0.17645
May | 1999 | 2158 | 1520 | 1520 | 0 | 652 | 321.15 | 0.21128
June | 1961 | 2117 | 1440 | 1440 | 0 | 1329 | 272.48 | 0.18922
July | 1982 | 2139 | 1200 | 1200 | 0 | 2268 | 226.43 | 0.18869
August | 1850 | 1997 | 1200 | 1200 | 0 | 3065 | 225.5 | 0.18792
September | 1543 | 1666 | 1200 | 1200 | 0 | 3531 | 220.8 | 0.184
October | 1237 | 1335 | 2240 | 2240 | 0 | 2626 | 391.84 | 0.17493
November | 685 | 739 | 13280 | 0 | 3365 | 0 | 1537.08 | 0.11574
December | 564 | 609 | 1520 | 0 | 609 | 0 | 359.79 | 0.2367
Totals | 16783 | 18116 | 31600 | 14141 | 3974 |  | 4791.44 | 0.15163
Multiply Project Production by Appropriate Rate |  |  |  | 746.5034 | 269.2663
Electric Savings = Sum of First 6,000 and Over 6,000 kWh |  |  |  |  | 1015.7697
|  | Avoided Generation Cost / kWh |  |  | 0.056073